## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 200990
Peak Shortage (MW) | 209
Energy Met (MU) | 4756.19
Energy Shortage (MU) | 2.58
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 209620