## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 188592
Peak Shortage (MW) | 20
Energy Met (MU) | 4355.77
Energy Shortage (MU) | 0.91206
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 190460