## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 193030
Peak Shortage (MW) | 123
Energy Met (MU) | 4399.85
Energy Shortage (MU) | 3.122
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 196142