## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 197820
Peak Shortage (MW) | 3153
Energy Met (MU) | 4599
Energy Shortage (MU) | 22.473
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 207982