## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 187419
Peak Shortage (MW) | 450
Energy Met (MU) | 4273.78
Energy Shortage (MU) | 5.891
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 191860