## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 193973
Peak Shortage (MW) | 1207
Energy Met (MU) | 4494.44
Energy Shortage (MU) | 7.84
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 200357