## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 197392
Peak Shortage (MW) | 1652
Energy Met (MU) | 4574.17
Energy Shortage (MU) | 9.38
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 203212