## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 201969
Peak Shortage (MW) | 1192
Energy Met (MU) | 4594.5
Energy Shortage (MU) | 4.977
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 204718