## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 201284
Peak Shortage (MW) | 1976
Energy Met (MU) | 4570.11
Energy Shortage (MU) | 11.094
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 201837