## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 199468
Peak Shortage (MW) | 443
Energy Met (MU) | 4458.87
Energy Shortage (MU) | 3.053
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 202085