## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 194919
Peak Shortage (MW) | 151
Energy Met (MU) | 4341.98
Energy Shortage (MU) | 0.8767
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 195133