## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 205508
Peak Shortage (MW) | 571
Energy Met (MU) | 4674.42
Energy Shortage (MU) | 3.77
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 207385