## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 208444
Peak Shortage (MW) | 1261
Energy Met (MU) | 4686.6
Energy Shortage (MU) | 4.869
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 209855