## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 206489
Peak Shortage (MW) | 5378
Energy Met (MU) | 4815.18
Energy Shortage (MU) | 30.43
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 215457