## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 208061
Peak Shortage (MW) | 2543
Energy Met (MU) | 4960.1
Energy Shortage (MU) | 13.82
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 227645