## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 202064
Peak Shortage (MW) | 554
Energy Met (MU) | 4827.94
Energy Shortage (MU) | 4.25
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 214418