## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 209866
Peak Shortage (MW) | 4208
Energy Met (MU) | 5098.88
Energy Shortage (MU) | 30.196
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 231611