## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 206941
Peak Shortage (MW) | 2742
Energy Met (MU) | 5031.21
Energy Shortage (MU) | 48.21
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 230041