## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 212932
Peak Shortage (MW) | 8554
Energy Met (MU) | 5109.27
Energy Shortage (MU) | 55.05
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 233768