## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 206052
Peak Shortage (MW) | 4008
Energy Met (MU) | 5073.16
Energy Shortage (MU) | 60.22
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 233289