## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 207851
Peak Shortage (MW) | 744
Energy Met (MU) | 5025.67
Energy Shortage (MU) | 25.83
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 223121