## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 208561
Peak Shortage (MW) | 2076
Energy Met (MU) | 4928.5
Energy Shortage (MU) | 12.26
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 221334