## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 191452
Peak Shortage (MW) | 331
Energy Met (MU) | 4402.73
Energy Shortage (MU) | 2.22
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 198935