## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 20:00 hrs; from RLDCs) | 200778
Peak Shortage (MW) | 627
Energy Met (MU) | 4518.12
Energy Shortage (MU) | 4.1951
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 206715