## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 183806
Peak Shortage (MW) | 952
Energy Met (MU) | 4161.67
Energy Shortage (MU) | 4.354
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 209524