## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 183948
Peak Shortage (MW) | 1324
Energy Met (MU) | 4262.74
Energy Shortage (MU) | 22.13
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 210777