## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 185296
Peak Shortage (MW) | 531
Energy Met (MU) | 4237.11
Energy Shortage (MU) | 5.871
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 211224