## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 187025
Peak Shortage (MW) | 284
Energy Met (MU) | 4177.67
Energy Shortage (MU) | 10.325
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 204828