## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 186968
Peak Shortage (MW) | 538
Energy Met (MU) | 4225.72
Energy Shortage (MU) | 10.0299
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 207039