## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 189653
Peak Shortage (MW) | 1406
Energy Met (MU) | 4270.78
Energy Shortage (MU) | 11.273
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 212121