## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 192027
Peak Shortage (MW) | 410
Energy Met (MU) | 4323.24
Energy Shortage (MU) | 4.23
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 215228