## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 181177
Peak Shortage (MW) | 1083
Energy Met (MU) | 4197.97
Energy Shortage (MU) | 7.984
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 212774