## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 190128
Peak Shortage (MW) | 2169
Energy Met (MU) | 4412.78
Energy Shortage (MU) | 18.3
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 214834