## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 186265
Peak Shortage (MW) | 854
Energy Met (MU) | 4332.92
Energy Shortage (MU) | 10.7
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 213206