## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 188680
Peak Shortage (MW) | 1639
Energy Met (MU) | 4413.53
Energy Shortage (MU) | 22.144
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 221330