## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 181156
Peak Shortage (MW) | 958
Energy Met (MU) | 4291.16
Energy Shortage (MU) | 12.548
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 215128