## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 191198
Peak Shortage (MW) | 2288
Energy Met (MU) | 4459.76
Energy Shortage (MU) | 23.647
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 219094