## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 189259
Peak Shortage (MW) | 1844
Energy Met (MU) | 4420.68
Energy Shortage (MU) | 22.743
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 220092