## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 213643
Peak Shortage (MW) | 220
Energy Met (MU) | 4896.84
Energy Shortage (MU) | 1.04
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 216337