## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 198029
Peak Shortage (MW) | 69
Energy Met (MU) | 4415.42
Energy Shortage (MU) | 1.82
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 205260