## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 199450
Peak Shortage (MW) | 20
Energy Met (MU) | 4420.58
Energy Shortage (MU) | 1.937
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 203927