## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 203308
Peak Shortage (MW) | 317
Energy Met (MU) | 4523.36
Energy Shortage (MU) | 1.24
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 208270