## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 183280
Peak Shortage (MW) | 67
Energy Met (MU) | 4171.69
Energy Shortage (MU) | 1.764
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 206182