## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 184464
Peak Shortage (MW) | 208
Energy Met (MU) | 4244.89
Energy Shortage (MU) | 1.6
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 211191