## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 190326
Peak Shortage (MW) | 486
Energy Met (MU) | 4347.4
Energy Shortage (MU) | 3.714
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 217753