## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 175037
Peak Shortage (MW) | 3
Energy Met (MU) | 3988.37
Energy Shortage (MU) | 0.31
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 199497