## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 190390
Peak Shortage (MW) | 797
Energy Met (MU) | 4391.23
Energy Shortage (MU) | 6.755
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 214106