## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 187341
Peak Shortage (MW) | 1013
Energy Met (MU) | 4297.47
Energy Shortage (MU) | 5.85
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 214108