## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 189376
Peak Shortage (MW) | 709
Energy Met (MU) | 4421.49
Energy Shortage (MU) | 8.24
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 215684