## Sheet1
Parameter | Total
Demand Met during Evening Peak hrs(MW) (at 19:00 hrs; from RLDCs) | 191239
Peak Shortage (MW) | 3170
Energy Met (MU) | 4441.25
Energy Shortage (MU) | 12.717
Maximum Demand Met During the Day (MW) (From NLDC SCADA) | 217272